TO

Sodiem Vilalge Panchayat

Sir,

KINDLY FIND THE QUOTATION

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No** | **Item Description** | **Qty** | **Price** | **Amount** |
| 1 | Dlink or Similiar 2 MP Day & Night Fixed Outdoor Bullet Network Camera | 35 | 7610 | 266350 |
| 2 | Dlink or Similar Point to point access point: 802.11a/n/ac 5G Outdoor Wireless Bridge Internal 15dBi Antenna (works with CWM-F200, DWC-F256 & DWC-F2000) | 24 | 32580 | 781920 |
| 3 | Dlink or Similiar 4 MP Day & Night Varifocal Outdoor Bullet Network Camera | 2 | 22300 | 44600 |
| 4 | Dlink or Similar 64CH 8 SATA RAID Network Video Recorder (NVR) | 1 | 14990 | 14990 |
| 5 | Dlink or Similar7 port Unmanged Switch with 4 x 10/100/1000 Base-T PoE+ Ports, 1 x 10/100/1000 Base-T Port & 2 x 100/1000 Base-X SFP port. -40°C~70°C (-40°F~158°F) Operating Temperature. | 12 | 54490 | 653880 |
| 6 | Dlink or Similar 24-Ports 10/100/1000Mbps + 4-Ports Combo GE/SFP Smart Managed Switch | 1 | 27200 | 27200 |
| 7 | 4 TB WD Purple Surveillance Hard Disk | 2 | 16000 | 32000 |
| 8 | 32'' LED Display Samsung or Similar | 1 | 32590 | 32590 |
| 9 | Dlink or Similar Outdoor 6U Rack IP 55 | 12 | 21680 | 260160 |
| 10 | Dlink or Similar Wall Mount Rack 6U x 550 W x 450 D, with Standard accessories | 1 | 6950 | 6950 |
| 11 | Dlink or Similar Patch Panel UTP Keystone- 24 Port- Unloaded (Cat 5e,Cat 6 & Cat 6 A ) | 13 | 1950 | 25350 |
| 12 | Dlink or Similar Jack Cat 6 Keystone UTP - White | 116 | 200 | 23200 |
| 13 | Cabling with CAT 6 Dlink cable with laying | 340 | 80 | 27200 |
| 14 | Dlink or Similar UTP Modular Plugs Pack of 100 | 1 | 450 | 450 |
| 15 | Dlink or Similar CAT6 UTP 24AWG PATCH CORD:1M,Plug 30U' Snagless | 50 | 180 | 9000 |
| 16 | INSTALLATION TESTING COMMISSIONING | 1 | 200000 | 200000 |
| Total | | | | 2405840 |
| CGST 9% | | | | 216525.6 |
| SGST 9% | | | | 216525.6 |
| GRAND TOTAL | | | | 2838891.2 |

Fiber Slicing to be charged at 1000/- per no as actuals

Terms and Conditions apply

To,

The Sarpanch

Village Panchayat Siolim - Sodiem,

Bardez Goa

**Ref:** VPSS/ 2021-22

**Sub:** Supply & installation of CCTV cameras at various places in Village Panchayat Siolim-Sodiem Jurisdiction.

Dear Sir / Madam,

We would like to quote for the above mentioned work

Sun Technologies

Panaji Goa