**QUOTATION**

Quotation no: Dourado 208

Date 09/08/2022

**To**

**Mr.Dourado,**

**Nuvem Goa**

Dear Sir,

Kindly check the quotation as per your requirement.

**KNX and PANASONIC SOLUTION**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Home Automation Option 1 (A) | |  |  |  |  |  |
| **Panasonic KNX Solution** | | | | | | |
| **Sr.no** | **Model No.** | |  | | --- | | **Images** | | **Client Name : Abhinav Choudhry**.  **Date:21/11/18**  **Date:21/11/18**   |  | | --- | | **Description** | | **Qty** | **Unit Price** | **Amount** |
| 1 | WRKT4616Q5NC-IND |  | |  | | --- | | KNX MIX ACTUATOR MX-116 16A | | 1 | 98000 | 98000 |
| 2 | WRKT5104E5NC-IND |  | 1-10V DIMMING ACTUATOR, 4 GANG | 1 | 79820 | 79820 |
| 3 |  |  | Power Supply 640mA | 1 | 34000 | 34000 |
| 4 | WRKT62045FA-IND |  | KNX MULTI FUNCTIONAL SWITCH 4 GANG MS104 FA | 2 | 39000 | 78000 |
| 5 | WRKT24025NC |  | 2 Way KNX Binary Input For Flush Mounted Socket | 1 | 20700 | 20700 |
| 6 | 22762 |  | Celing mount PIR senosr (Standalone) | 3 | 4500 | 13500 |
| 7 | Others | | KNX IP Gateway | 1 | 79000 | 79000 |
| 8 | 4 Channel Fan Regulator | 1 | 29000 | 29000 |
| 9 | IR Blaster | 2 | 29000 | 58000 |
| 10 | INSTALLATION TESTING COMMISSIONING | 1 | 65000 | 65000 |
| 11 | Programming Charges | 1 | 30000 | 30000 |
| **Total** | | | | | | **585020** |
|  |  |  |  |  |  |  |
| Home Automation Option 1 (B) | |  |  |  |  |  |
| **Client Name : Abhinav Choudhry**.  **Date:21/11/18**  **Date:21/11/18**    **Client Name : Abhinav Choudhry**.  **Date:21/11/18**  **Date:21/11/18**     |  | | --- | | **Zenion Solution** | | | | | | | |
| **Sr.no** | **Product Model No.** | **Ref.Image** | **Product Description** | **Qty** | **Unit Price** | **Amount** |
| 1 | WRKT4612J5NC-IND |  | KNX MIX ACTUATOR MX-112 16A | 1 | 98000 | 98000 |
| 2 | WRKT5104E5NC-IND |  | 1-10V DIMMING ACTUATOR, 4 GANG | 1 | 79820 | 79820 |
| 3 |  |  | Power Supply 640mA | 1 | 34000 | 34000 |
| 9 | WRKT24025NC |  | KNX Binary Input For Flush Mounted Socket | 1 | 20700 | 20700 |
| 10 | 22762 |  | Celing mount PIR senosr (Standalone) | 3 | 4500 | 13500 |
| 12 | Others | | 4 Channel Fan Regulator | 1 | 29000 | 29000 |
| 13 | Zennio Z41 Pro Touch Display Keypad | 1 | 126000 | 126000 |
| 14 | Zennio TMDP6 Touch Keypad | 1 | 36000 | 36000 |
| 15 | IR Blaster | 2 | 29000 | 58000 |
| 16 | INSTALLATION TESTING COMMISSIONING | 1 | 65000.00 | 65000 |
|  | Programming Charges | 1 | 30000.00 | 30000 |
| **Total** | | | | | | **590020** |
|  |  |  |  |  |  |  |
| Curtarn Mortor Option 2 ( C) | |  |  |  |  |  |
| **AVN CURTAIN Mortor** | | | | |  |  |
| **Sr. No** | **Item Description** | **Qty** | **Price** | **Amount** |  |  |
| 1 | Avn Motor | 2 | 9900 | 19800 |  |  |
| 2 | 40mm kit | 2 | 1000 | 2000 |  |  |
| 3 | Remote 1ch | 0 | 1800 | 0 |  |  |
| 4 | Remote 2ch | 1 | 2600 | 2600 |  |  |
| 5 | Pipe 12ft 40mm | 1 | 1550 | 1550 |  |  |
| 6 | INSTALLATION TESTING COMMISSIONING | 1 | 3000 | 3000 |  |  |
| **Total** | | | | **28950** |  |  |
|  |  |  |  |  |  |  |
| Curtarn Motor Option 2 (D) | |  |  |  |  |  |
| **Somfy LSN Pro Smart** | | | | |  |  |
| **Sr. No** | **Item Description** | **Qty** | **Price** | **Amount** |  |  |
| 1 | LSN Motor | 2 | 11850 | 23700 |  |  |
| 2 | 40mm kit | 2 | 1000 | 2000 |  |  |
| 3 | Situo 1 | 0 | 6000 | 0 |  |  |
| 4 | Situo 2 ch | 1 | 7800 | 7800 |  |  |
| 5 | Pipe 12 ft | 1 | 1550 | 1550 |  |  |
| 6 | INSTALLATION TESTING COMMISSIONING | 1 | 3000 | 3000 |  |  |
| **Total** | | | | **38050** |  |  |
|  |  |  |  |  |  |  |
| **Total** | | |  |  |  |  |
| **Option 1 A + Option 2 C = 613970/- + 18% GST** | | |  |  |  |  |
| **Option 1 A + Option 2 D = 623070/- + 18% GST** | | |  |  |  |  |
| **Option 1 B + Option 2 C = 618970/- + 18% GST** | | |  |  |  |  |
| **Option 1 B + Option 2 D = 628070 + 18% GST** | | |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
| **\*KNX Signal cable to be charged at 98/- + GST per mtr supply only** | | |  |  |  |  |

**Client scope:**

Scaffolding wherever required to be provided.

Electrification wherever necessary to be provided.

Fabrication like poles etc. to be provided.

Fabricated poles if required to be provided.

Civil work if required.

INTERNET wifi / network backbone

Gang boxes as advised and Ethernet /cat 6 cable to network db

**Payment Terms**

100 % Advance

**Company’s Bank Details**

**Bank Name:** Central Bank of India

**Account Number:** 3167002097

**Branch & IFS Code:** Panaji & CBIN0280713

**Solution Offered:** >> Activation Lighting Control

>> Activation of Dimming Control

>> Activation of Curtain Control

>> Activation of Fan on/off and speed control

>> Activation of AC control using IR emitter

>> Scenario control in all rooms

>> Keypad user interface

>> iOS / Android Smart phone control

**Terms & conditions apply.**

Above quoted BOQ is by considering approximate requirement, which may increase/decrease after confirmation of the actual requirement from the client.

All other electrical / installation accessories .e.g. Power Wires, KNX Signal Cable, 1.5sq mm 2 pair cable, Cat6, Circuit protection, Surge / Harmonic Arrestores, Distribution boards, Lamps, fixtures, Transformers, Dimmable Ballasts / Drivers, Relay Contactors, Curtain Motor with mechanism, local wifi environment would be in customer scope.

UPS power supply back-up for BUS Power Supply Unit same would be in scope of customer.

24 months warranty from the date of invoicing for Panasonic Products. 12 months warranty for 3rd party products.

Delivery 7 to 8 weeks from the date of receipt of technically and commercially clear purchase order.

**GST @ 18% Extra**

Validity of offer is 30 days from the date of quotation.

In case the order is finalized on us, the same will be routed through our authorized System Integrator.

Above prices & installation/confriguration/programming charges are based on this confriguration only.

Quotation valid for 10 days only.

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.