**QUOTATION**

Quotation no: El Shaddai 110

Date 01/08/2022

**To**

**El Shaddai,**

**Mapusa Goa**

Dear Sir,

Kindly check the quotation as per your requirement.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SR NO** | **ITEM DESCRIPTION** | **QTY** | **PRICE** | **AMOUNT** |
| 1 | Honeywell 2MP IP Fixed Lens Bullet Camera Cam, Built in Mic, 4MM / 2.8MM Lens, POE, IP67, VCA-Tripwire/Perimeter | 33 | 4990 | 164670 |
| 2 | Honeywell 2MP IP Fixed Lens Dome Camera Cam, Built in Mic, 4MM / 2.8MM Lens, POE, IP67, VCA-Tripwire/Perimeter | 1 | 4990 | 4990 |
| 3 | Honeywell 4 MP Motorized Bullet Varifocal Motorized Lens 2.8-12mm, IH+265/ H.265/H.264 ,120dB WDR,Smart IR Range Up to 80 m Built-in Mic,SD Card Slot, Reset Button, ,Full Metal Housing,IP 67,IK10 | 2 | 16990 | 33980 |
| 4\* | Honeywell NVR Professional Series 80 CH | 1 | 118000 | 118000 |
| 5 | WD Purple Surveillance Hard Disk 2 TB | 2 | 4980 | 9960 |
| 6 | 16 Port POE Switch D link or Secure Eye | 2 | 25800 | 51600 |
| 7 | 8+2 Port POE Switch D link or Secure Eye | 5 | 9200 | 46000 |
| 8 | Enclosure with mounting | 36 | 110 | 3960 |
| 9 | RJ 45 Connector With Crimping etc complete | 76 | 160 | 12160 |
| 10 | HDMI cable (3mtrs) | 1 | 550 | 550 |
| 11 | Dlink, CP Plus Or Similar Network Rack 4 U | 1 | 3990 | 3990 |
| 12 | Dlink, CP Plus Or Similar Network Rack 2 U | 6 | 2500 | 15000 |
| 13 | Spike Board | 1 | 600 | 600 |
| 14 | INSTALLATION TESTING COMMISSIONING | 1 | 26900 | 26900 |
| 15 | Switching Routing and Networking | 1 | 15000 | 15000 |
| 16\* | Supply and laying of cat 6 cables through PVC pipe / casing capping with clamping on surface wall | 975 | 95 | 92625 |
| **TOTAL** | | | | **599985** |
| **\*18% GST EXTRA** | |  |  |  |
| **16) If required extra Supply and laying of cat 6 cables through PVC pipe / casing caping with clamping on surface wall to be chrarged as actualls @ 95/- per mtr + GST** | | | | |
|  |  |  |  |  |
| **If required:-** |  |  |  |  |
| **1)Display 19'' @7900 + GST** | |  |  |  |
| **2) 1KVA UPS with build in battery 15-20 minutes backup @ 7500/- + GST** | |  |  |  |
| **3) Wall chasing and laying of PVC conduit concealed @ 55/- per mtr + GST as actuals** | |  |  |  |
|  |  |  |  |  |
| **In lieu of** |  |  |  |  |
| **4) Honeywell NVR Professional Series 40 CH @ 49500/- + GST** | |  |  |  |

**Client scope:**

Scaffolding wherever required to be provided.

Electrification wherever necessary to be provided.

Fabrication like poles etc. to be provided.

Fabricated poles if required to be provided.

Civil work if required.

Flat cable for the lift to be provided by the lift integrator.

**Payment Terms**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Initial Advance 25%** | **Second slab 10 days prior to delivery of equipment 25%** | **Third slab on delivery of equipment 25 %** | **On completion 25%** |
| **Total** | 599985 | 599985 | 599985 | 599985 |
| **Basis Amount** | 149996.25 | 149996.25 | 149996.25 | 149996.25 |
| **Grand Total with GST** | **176995.575** | **176995.575** | **176995.575** | **176995.575** |

**Company’s Bank Details**

**Bank Name:** Central Bank of India

**Account Number:** 3167002097

**Branch & IFS Code:** Panaji & CBIN0280713

**Terms & conditions apply**.

Quotation valid for 10 days only.

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.