**QUOTATION**

Quotation no: Arora 404

Date 31/01/2023

**To**

**Lucky Arora,**

**Goa**

Dear Sir,

Kindly check the quotation as per your requirement.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR NO** | **ITEM DESCRIPTION** | **QTY** | **PRICE** | **Installation / Laying Charges** | **AMOUNT** |
| 1 | Honeywell or Similiar 2MP IP Fixed Lens Dome Camera Cam, Built in Mic, 4MM / 2.8MM Lens, POE, IP67, VCA-Tripwire/Perimeter | 60 | 2990 | 850 | 230400 |
| 2 | Dahua or Similar 4MP Bullet Varifocal Camera | 2 | 7900 | 1000 | 17800 |
| 3 | POE Dual Band Access Point with gigabit ethernet port, wireless signal rates of up to 1300 Mbps over the 5 GHz band with 4 + 2 ports | 50 | 9900 | 1800 | 585000 |
| 4 | Honeywell or SimiliarNVR Professional Series 80 CH | 1 | 79000 | 9000 | 88000 |
| 5 | Network Rack 6 U | 3 | 5700 | 1500 | 21600 |
| 6 | RJ 45 Connector With Crimping etc complete | 300 | 150 | | 45000 |
| 7 | WD Purple Surveillance Hard Disk 4 TB | 3 | 9000 | 1000 | 30000 |
| 8 | Enclosure with mounting | 62 | 100 | | 6200 |
| 9 | Monitor 32'' | 1 | 29000 | 2000 | 31000 |
| 10 | IP based EPABX Server Setu VFX 400 gateway with Spark 200 along with 99 trunk licenses and vocoder 16 channel | 1 | 125000 | 9000 | 134000 |
| 11 | VP 510JE reception phone programmable | 2 | 9900 | 1500 | 22800 |
| 12 | IP phone VP210JE with 3 features buttons | 50 | 4990 | 500 | 274500 |
| 13 | RJ-45 keystone jack with face plate and junction box | 50 | 450 | 150 | 30000 |
| 14 | HDMI cable (3mtrs) | 1 | 550 | | 550 |
| 15 | Patch Cord (1mtr) | 55 | 150 | | 8250 |
| 16 | Network Dressing and Systemic wiring | 1 | 9000 | | 9000 |
| **TOTAL** | | | | | **1534100** |

|  |  |  |  |
| --- | --- | --- | --- |
| UTP networking cat-6 cable suitable for LAN / WAN Computer networking to be charge as actuals at 95/- + GST | | | |
| casing capping / conduit(3/4") to be charges as actual @ 105/- + GST | |  |  |
|  |  |  |  |
| If required:- | |  |  |
| 1)Spike Board @ 600 + GST | |  |  |
| 2) 1KVA UPS with built in battery @ 9600/- + GST | |  |  |

**Client scope:**

Scaffolding wherever required to be provided.

Electrification wherever necessary to be provided.

Fabrication like poles etc. to be provided.

Fabricated poles if required to be provided.

Civil work if required.

**Payment Terms**

100 % Advance

**Company’s Bank Details**

**Bank Name:** Central Bank of India

**Account Number:** 3167002097

**Branch & IFS Code:** Panaji & CBIN0280713

**Terms & conditions apply**.

Quotation valid for 10 days only.

GST @ 18% EXTRA

If payment not received on time interest @ 15% will incurred per annum.

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.