**QUOTATION**

Quotation no: Native Villa 411

Date 17/03/2023

**To**

**Mr. Himmat Sandhu,**

**Goa**

Dear Sir,

Kindly check the quotation as per your requirement.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Functionality Matrix** | | | | |
| **Floor** | **Light Switching Circuit** | **Fan Circuit** | **AC** | **Curtain** |
| Lower Basement | 13 | 2 | 2 | 1 |
| Ground Floor | 18 | 4 | 2 | 3 |
| First Floor | 30 | 3 | 3 | 5 |
| Second Floor | 31 | 2 | 2 | 4 |
|  |  |  |  |  |
| **Front End** | | | | |
| **SR NO** | **ITEM DESCRIPTION** | **QTY** | **PRICE** | **AMOUNT** |
| 1 | Zennio Z 41j | 1 | 84000 | 84000 |
| 2 | Gateway for above | 1 | 25000 | 25000 |
| 3 | Zennio flat panel custom made 6 Ch | 8 | 29700 | 237600 |
| 4 | Zennio flat panel custom made 4 Ch | 10 | 26700 | 267000 |
| 5 | Zennio flat panel custom made 2 Ch | 4 | 22500 | 90000 |
| 6 | Zennio flat panel custom made 1 Ch | 1 | 18000 | 18000 |
| **TOTAL** | | | | **721600** |
|  |  |  |  |  |
| **Back End** | | | | |
| **SR NO** | **ITEM DESCRIPTION** | **QTY** | **PRICE** | **AMOUNT** |
| 1 | 16 Ch switching relay controller | 6 | 39900 | 239400 |
| 2 | 8 Ch switching relay controller | 1 | 36000 | 36000 |
| 3 | 4 Ch fan switching regulatory relay controller | 4 | 33000 | 132000 |
| 4 | 640 m A KNX Power Supply | 1 | 45000 | 45000 |
| 5 | Zennio IR SC Controller | 9 | 24000 | 216000 |
| 6 | KNX Interface Charges | 1 | 50000 | 50000 |
| 7 | Programming Charges | 1 | 90000 | 90000 |
| 8 | Installation Testing Commissioning | 1 | 45000 | 45000 |
| **TOTAL** | | | | **853400** |
|  |  |  |  |  |
| **Curtain Automation** | | | | |
| 1) Torq AOK curtain motor upto 60kg / 24 feet length @ 17700/- + per no. GST | | | | |
| 2) Torq AOK curtain channel @ 960/- per running feet + GST | | | | |
| 3) Dual channel remote control @ 2700/- + GST | | | | |
| 4) Integration with wifi and mobile app @ 1000/- per no + GST | | | | |
| 5) Installation charges 2500/- per no. + GST | | | | |
|  |  |  |  |  |
| **\* As per layouts there are 13 curtains which can be considered kindly find per number cost and quantify as per your requirements and multiple the same.** | | | | |

**\*KNX Cable to be charged @150/- + GST per mtr supply only.**

**Client scope:**

Scaffolding wherever required to be provided.

Electrification wherever necessary to be provided.

Fabrication like poles etc. to be provided.

Fabricated poles if required to be provided.

Civil work if required.

Cabling work as required

**Payment Terms**

100 % Advance

**Company’s Bank Details**

**Bank Name:** Central Bank of India

**Account Number:** 3167002097

**Branch & IFS Code:** Panaji & CBIN0280713

**Terms & conditions apply**.

Quotation valid for 10 days only.

GST @ 18% EXTRA

If payment not received on time interest @ 15% will incurred per annum.

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.