## PA SYSTEM
ItemCode | BrandName | Description | Quantity | unit price | Total
HWSHNIA240 | HONEYWELL | 240W Power Amp | 1 | 18900 | 18900 | P93 | 36900
HWSHNIA480 | HONEYWELL | HNIA480 | 1 | 24000 | 24000 | P92 | 49500
HWSHNIA1000 | HONEYWELL | 1000W Power Amp | 2 | 58000 | 116000 | P90, P91 | 96900
HWSHMC2000E | HONEYWELL | Romote Call Station 8 preset buttons and 8 configurable buttons optional gooseneck or PTT | 1 | 28000 | 28000 | P89 | 36000
HWSHCU2000E | HONEYWELL | Main control unit HCU-2000 (RoHS) | 4 | 150000 | 600000
HWSHNPHP15A | HONEYWELL | 15W horn speakers | 71 | 2600 | 184600 | P96 | 5700
HWSHNCL06 | HONEYWELL | 6W Ceiling Speaker | 243 | 520 | 126360 | P95 | 1260
HWSLPCM06A | HONEYWELL | 5 inch ceiling loudspeaker 6 or 3 or 1 or 5W white metal | 296 | 1570 | 464720 | P94 | 3990

## CCTV SYSTEM
ITEM NO. | DESCRIPTION | UNIT | QTY
1 | Supplying and fixing of IP BULLET CAMERA | IHBEPI EL @2660 BULLET | 133
1.1/3” 3Megapixel 6mm lens progressive scan Aptina CMOS
2. H.264 & MJPEG dual-stream encoding
3.Max15fps@1.3M(1280×960)&25/30fps@720P(1280×720)
4. Day/Night(ICR), 2DNR, AWB, AGC, BLC
5. Multiple network monitoring: Web viewer, CMS(DSS/PSS) & DMSS
6. 6mm fixed Lens (3.6mm, 8mm optional)
7. Max. IR LEDs length 20m
8. IP66, PoE
2 | Supplying and fixing of IP DOME CAMERA | IHIEPI EL @2560 DOME | 80
1.1/3” 2Megapixel progressive scan Aptina CMOS
2. H.264 & MJPEG dual-stream encoding
3.Max15fps@1.3M(1280×960)&25/30fps@720P(1280×720)
4. Day/Night(ICR), 2DNR, AWB, AGC, BLC
5. Multiple network monitoring: Web viewer, CMS(DSS/PSS) & DMSS
6. 6mm fixed Lens (3.6mm, 8mm optional)
7. Max. IR LEDs length 20m
8. IP66, PoE
3 | Supplying and fixing of IP DOME CAMERA | SAME DOME | 32
1.1/3” 1.3Megapixel progressive scan Aptina CMOS
2. H.264 & MJPEG dual-stream encoding 3.Max15fps@1.3M(1280×960)&25/30fps@720P(1280×720) 4. Day/Night(ICR), 2DNR, AWB, AGC, BLC
5. Multiple network monitoring: Web viewer,CMS(DSS/PSS) & DMSS 6. 6mm fixed Lens (3.6mm, 8mm optional)
7. Max. IR LEDs length 30m
8. IP66, PoE
4 | Supplying and fixing of IP PTZ COME CAMERA 1.3MP, 1/2.8" CMOS, 3D DNR, ICR, Color: 0.05lux/F1.6, B/W:0.01lux/F1.6, Optical Zoom:30x, Focus:4.7-94.0mm, 1920x1080:30fps, Pan Speed: 0.1° -160°/s, Tilt Speed: 0.1° -120°/s -150mtr. | I-HIP2PI-S25X 25XX @26000 / I-HIP2PI-S33X 33XX @47000 | 15
5 | Supplying and fixing of LPR BULLET CAMERA | SAME BULLET | 2
1.1/3” 2Megapixel 6mm lens progressive scan Aptina CMOS
2. H.264 & MJPEG dual-stream encoding
3.Max15fps@1.3M(1280×960)&25/30fps@720P(1280×720)
4. Day/Night(ICR), 2DNR, AWB, AGC, BLC
5. Multiple network monitoring: Web viewer, CMS(DSS/PSS) & DMSS
6. 6mm fixed Lens (3.6mm, 8mm optional)
7. Max. IR LEDs length 20m
8. IP66, PoE
6 | Supplying and fixing of NVR |  | 5 | NVR IMPACT IP SERIES |  | MOP
| 1.64 CH IP camera input |  |  | I-HNVR-1105 | 5CH NVR with 1HDD Support | 5100
| 2.H.264/MPEG4 Dual-Codec |  |  | I-HNVR-1110 | 10CH NVR with 1HDD Support | 8200
| 3.HDMI, VGA & BNC output up to 1080P |  |  | I-HNVR-1120 | 20CH NVR with 1HDD Support | 9120
| 4 Recording: |  |  | I-HNVR-1220 | 20CH NVR with 2HDD Support | 12500
| 16CH: 16CH@D1/8CH@720P/4CH@1080P |  |  | I-HNVR-1240 | 40CH NVR with 2HDD Support | 17900
| 8CH: 8CH@D1/4CH@720P/2CH@1080P |  |  | I-HNVR-1440 | 40CH NVR with 4HDD Support | 27800
4CH: 4CH@D1/2CH@720P/1CH@1080P
5. 8SATA, 2USB
7 | Supplying and fixing of NVR | each | 1
1.32 CH IP camera input
2.H.264/MPEG4 Dual-Codec
3.HDMI, VGA & BNC output up to 1080P
4 Recording:
16CH: 16CH@D1/8CH@720P/4CH@1080P
8CH: 8CH@D1/4CH@720P/2CH@1080P
4CH: 4CH@D1/2CH@720P/1CH@1080P
5. 8SATA, 2USB
8 | Supplying and fixing of 4 - HDD Surveillance Hard Disk | each | 24
9 | Supplying and fixing of 8 Port Gigabit PoE+ Managed Switch Network Switch | each | 5
10 | Supplying and fixing of 32 Port Gigabit PoE+ Managed Switch Network Switch | each | 15
11 | Supply, Installation, Testing, Commissioning of CCTV camera display professional grade LED screen for 1/2/4/8/16 screen splits for IP cameras, 40" LED, back lit, 16:9, 1920x1080, Brightness 350 nits, 5000:1 contrast, VGA-HDMI-DVI-D-Stereo minijack Input, Audio Minijack output, Built In Speaker, External control RS232/ RJ45, Built in Tuner, Media Player, 9.5 mm top/ side & 15 mm bottom bazel, Wall mount stand, power supply consumption, 240V AC. | each | 2

## FIRE ALARM
ItemCode | BrandName | Description | Quantity | Unit Price | Total
GSFGSTIFP8 | GST | Flush or Surface Mounting Modularized Panel Maximum 10 Loops standalone2420 Addressable Devices 8 loops with Networkable1936 addressable points No Loops FittedRequires loop cardGSFLCIFP8 and network card additionally for networking 140 Zone Indication Big | 1 | 125000 | 125000 | 115.1 | 693000
GSFP9935 | GST | RS232 Co mm unication Board for GSFGSTIFP8 Co mm issioning and GMC Software Connection | 1 | 8800 | 8800 |  |  | v
GSFP9910B | GST | Portable Programming Tool for Addressing Presetting and Testing of Addressable Devices | 1 | 8300 | 8300 |  |  | m
GSFLCIFP8 | GST | Dual Loop card for IFP8 484 Addressable Devices Capacity LPCB Approved | 4 | 25000 | 100000 |  |  | j
GSFP9935MB | GST | Modbus Protocol RS232 Co mm unication Board | 1 | 8700 | 8700 |  |  | l
GSFDI9102E | GST | Intelligent Photoelectric Smoke Detector | 1200 | 1300 | 1560000 | 115.2.1 +115.2.2 | 2500
GSFDI9103E | GST | Intelligent Heat Detector DI9103E | 140 | 1320 | 184800 | 115.2.3 | 2600
GSFDB01 | GST | Standard Mounting Base for DC series detector | 1340 | 120 | 160800
GSFDI9204E | GST | Addressable Semi Flush Mounting Resettable NonBreaking Glass Supplied with Special Reset Tool Compatible with both I DI Series Certified by LPCB | 30 | 1880 | 56400 | 115.3 | 3900
REFRERI | RAVEL | Response Indicator Metal Plate | 200 | 85 | 17000 | 115.4 | 195
GSFGSTNRP00 | GST | Network Active RepeaterPT Compatible with GSFGST100 GSFGST200 GSFGST5000 IFP8PT Consider GSFP9940A card to network this with GST panels | 1 | 19000 | 19000 | 115.5 | 57900
GSFP9940A | GST | RS485 Network Card for GST200 panels | 1 | 9900 | 9900
GSFI9404 | GST | Addressable Sounder 24VDC required Certificated by LPCB | 30 | 3500 | 105000 | 115.6 | 5700
GSFI9301UPGRADE | GST | Addressable Single Input Output Module Certificated by LPCB Loop Powered | 30 | 2000 | 60000 | 115.7 | 3600
GSFI9403 | GST | Addressable Combined Sounder and Strobe24VDC Certificated by LPCB | 40 | 2800 | 112000 | 115.8 | 5700
P114 - Shree laxmi, cost double