## BOQ Panasonic KNX product (Goa)
Client Name:-JP Techtronics Location:- Goa Date:-06/09/2022
Sr.no | Product Model No. | Ref.Image | Product Description | Total Qty | Unit Price | Amount After (20%)Discounted On Unit Price
1 | WRKT5104E5NC-IND |  | 1-10V DIMMING ACTUATOR, 4 GANG | 7 | 36200 | 202720
2 | WRKT20275NC-IND |  | Power Supply 640mA | 1 | 23460 | 18768
3 |  |  | Zennio Z41 Pro Touch Display Keypad | 3 | 81154 | 194769.6
|  |  |  | Gross Value Before Taxs |  | 416257.6
Solution Offered : |  | >> Activation of Lighting control
>> Activation of Dimming control
>> Activation of Curtain control
>> Activation of Fan on/off and speed control
>> Activation of AC control using IR emitter
>> Scenario control in all rooms
>> Keypad user interface
>> iOS / Android Smart phone control
Note: | 1) The above quoted BOQ is by considering approximate requirement, which may increase/decrease after confirmation of the actual requirement
from the client
2) All other electrical / Installation accessories e.g. Power Wires, KNX Signal Cable, 1.5sq mm 2 pair cable,Cat6, Circuit protection, Surge / Harmonic Arrestores, Distribution boards, Lamps,fixtures, Transformers, Dimmable Ballasts/Drivers, Relay Contactors,Curtain Motor with mechanism, local wifi emvironment would be in customer scope
3) UPS power supply back-up for BUS Power supply Unit same would be in scope of customer.
Terms & Condition :
1) | 100% Payment against proforma Invoice before delivery.
2) | 24 months warranty from the date of invoicing for Panasonic Products. 12 months warranty for 3rd party products.
3) | Delivery 7 to 8 Weeks from the date of receipt of technically and commercially clear purchase order.
4) | GST Extra as applicable.
5) | Validity of offer is 30 days from the date of quotation
6) | In case the order is finalized on us, the same will be routed through our authorized System Integrator.
7) | Above prices & installation/configuration/programming charges are based on this configuration only.
We hope you will find our offer in order & looking forward to your positive response.
Thanking You,
PELICAN TELECOM PVT.LTD
Client Name : Abhinav Choudhry.
Date:21/11/18
Date:21/11/18
Black series