## Sun Technologies 208
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Hot dip galvanized octagonal / hexagonal, tripod col (3mm thickness, 4 mtrs height) | 4 | 40300 | 161200
2 | Base Plate 200 x 200 | 4 | 1800 | 7200
3 | In build junction box Bajaj Similar | 4 | 4000 | 16000
4 | Double arm / single arm bracket (1 mtr length) | 4 | 4000 | 16000
5 | Template | 4 | 600 | 2400
6 | 4 way conector | 4 | 1100 | 4400
7 | Foundation bold M16 600mm (1 Set) | 4 | 1800 | 7200
8 | Excavation 40cmx40cmx50cm | 4 | 2300 | 9200
9 | Foundation with footing and concreting with shuttering etc | 4 | 20700 | 82800
10 | Fabrication | 4 | 5700 | 22800
11 | Erection of pole | 4 | 11500 | 46000
12 | Transportation | 1 | 25500 | 25500
TOTAL |  |  |  | 400700
CGST @ 9% |  |  |  | 36063
SGST @ 9% |  |  |  | 36063
GRAND TOTAL |  |  |  | 472826

## Simple Computers 204
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Hot dip galvanized octagonal / hexagonal, tripod col (3mm thickness, 4 mtrs height) | 4 | 42000 | 168000 | 8400 | 50400
2 | Base Plate 200 x 200 | 4 | 1600 | 6400 | 320 | 1920
3 | In build junction box Bajaj Similar | 4 | 3600 | 14400 | 720 | 4320
4 | Double arm / single arm bracket (1 mtr length) | 4 | 3800 | 15200 | 760 | 4560
5 | Template | 4 | 550 | 2200 | 110 | 660
6 | 4 way conector | 4 | 1100 | 4400 | 220 | 1320
7 | Foundation bold M16 600mm (1 Set) | 4 | 1550 | 6200 | 310 | 1860
8 | Excavation 40cmx40cmx50cm | 4 | 2200 | 8800 | 440 | 2640
9 | Foundation with footing and concreting with shuttering etc | 4 | 21500 | 86000 | 4300 | 25800
10 | Fabrication | 4 | 6000 | 24000 | 1200 | 7200
11 | Erection of pole | 4 | 10500 | 42000 | 2100 | 12600
12 | Transportation | 1 | 26000 | 26000 | 5200 | 31200
TOTAL |  |  |  | 403600
GST 18% |  |  |  | 72648
GRAND TOTAL |  |  |  | 476248

## Sun Technologies 301
BILL OF QUANTITIES FOR ELV SERVICES FOR GHD ANGHAAN
Sr.No | Particulars | Unit | QTY | Rate | Amount
TELEPHONE SYSTEM
1 | Supplying, erecting & commissioning of Digital EPABX System configured fo 1 PRI, 10 Digital Extensions & 250 Analog Extensions matrix or similar | EACH | 1 | 1066263 | 1066263
2 | Supplying, erecting & commissioning of operator phone system as per specification | EACH | 1 | 5390 | 5390
3 | Supplying, erecting & commissioning MDF Box 300 x 300 pairs with krones as per specification | EACH | 1 | 4160 | 4160
4 | Supplying, erecting & commissioning junction box suitable for 20 pairs as per specification | EACH | 15 | 1090 | 16350
5 | Supplying, erecting & commissioning junction box suitable for 50 pairs as per specification | EACH | 2 | 1850 | 3700
6 | Supplying, erecting & commissioning 10 pair KRONE module for connection & disconnection of telephone cable as per specification | EACH | 36 | 320 | 11520
7 | Supplying & erecting over voltage protection magazine suitable for 10 pair as per specification | EACH | 2 | 7590 | 15180
8 | Supplying, installing, testing & commissioning push button telephone instrument desk top/wall mount with caller IDunit as per specification complete. | EACH | 230 | 3290 | 756700
9 | Supplying & erecting jelly filled armoured telephone copper cable 20 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 2500 | 310 | 775000
10 | Supplying & erecting jelly filled armoured telephone copper cable 5 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 250 | 150 | 37500
11 | Supplying & erecting jelly filled armoured telephone copper cable 50 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 120 | 550 | 66000
12 | Supplying & erecting jelly filled armoured telephone copper cable 10 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 120 | 220 | 26400
| TOTAL |  |  |  | 2784163
CCTV SYSTEM
1 | Supplying & installing single mode OS1/OS2 - armoured - 12 core OS1/OS2 armoured single mode optical fibre of size 50/125µm. 10/40 gbps speed in provided underground HDPE pipe complete. | METER | 2000 | 170 | 340000
2 | Supplying & installing single mode fibre patch cord 3 m complete | EACH | 30 | 1990 | 59700
3 | Supplying & installing single mode fibre adapter with plate - 6 port complete. | EACH | 16 | 750 | 12000
4 | Supplying and fixing rack type 24 ports, light guide interconnect unit with adapter panel for termination of optical fibre cables on wall/ provided U rack complete as per specification | EACH | 16 | 7260 | 116160
5 | Supplying & installing single mode simplex pigtail complete | EACH | 85 | 290 | 24650
6 | Supplying and fixing 24 port patch panel with tool-less keystone jacks in provided U Rack complete as per specification | EACH | 16 | 7290 | 116640
7 | Supplying and fixing 9U IP66 outdoor mount server rack with pole mount bracket (Dimension- DxW - 450X550 mm) as per specification | EACH | 2 | 19800 | 39600
8 | Supplying & installing UTP networking cat-6 armoured cable suitable for LAN / WAN Computer net-working as per specification | METER | 800 | 220 | 176000
9 | Supplying and fixing IP66 enclosure for fibre splicing as per specification complete. | EACH | 6 | 2750 | 16500
10 | Supplying and fixing 1 meter length, UTP patch cord of Cat 6 type in position as per specification | EACH | 350 | 190 | 66500
11 | Supplying and fixing 3 meter length, UTP patch cord of Cat 6 type in position as per specification | EACH | 30 | 200 | 6000
12 | Supplying, fixing, and configuring media convertor 1000Base T to 1000 base-SX SC single-mode media converter (550m) complete. | EACH | 15 | 10890 | 163350
13 | Supplying and erecting of Pro series IP Dome / Bullet Camera , 4MP 3.6mm Make: CP Plus / Dahua | EACH | 55 | 7260 | 399300
14 | Supplying and erecting Pro series NVR 32 Channel with 4 SATA Make : CP Plus /Dahua | EACH | 2 | 53790 | 107580
15 | Supplying and erecting of Surveillance Hard disk 6 TB Make : Seagate | EACH | 4 | 15840 | 63360
16 | Supplying, fixing, and configuring 16-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete | EACH | 26 | 19800 | 514800
17 | Supplying, fixing, and configuring 8-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete | EACH | 26 | 10890 | 283140
18 | Supplying, fixing, and configuring 24-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete | EACH | 2 | 32350 | 64700
19 | Supplying, fixing, and configuring 32-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete tp link (16 port 2 qty) | EACH | 2 | 39600 | 79200
20 | Supplying and erecting of Mounting Box for Indoor Cameras | EACH | 55 | 190 | 10450
21 | Supplying, installing & testing UTP connector (RJ-45) as per specification with crimping | EACH | 230 | 200 | 46000
22 | Supplying, installing of Outdoor Housing for cameras ( Fibre body) | EACH | 1 | 1980 | 1980
23 | Monitor 32 " Samsung /Eq | EACH | 2 | 35850 | 71700
24 | Rack 17 U along with plates for CCTV & EPABX | EACH | 1 | 32350 | 32350
25 | Supplying and laying (including excavation of suitable width & depth up to 90 cm) 50 mm outside dia. double wall corrugated pipes (DWC) of HDPE for enclosing cable below ground/road surface, to required depth complete. | METER | 1600 | 1090 | 1744000
| TOTAL |  |  |  | 4555660
IT SERVICES
1 | Supply,Installation, Testing and Commissioning Ceiling Mount Wreless Dual Band Access Point, Gigabit Ethernet PoE Port ( 802.3af/at PoE) ,Antennas : 3 Internal Omni,2.4 GHz: 4 dBi, 5 GHz: 5 dB' MU - MIMO, Mounting Kit, Seamless Roaming, Signal rate : 5 GHz:Up to 867 Mbps, 2.4 GHz:Up to 450 Mbps, Transmission power : ≤20 dBm(2.4 GHz, EIRP), ≤23 dBm(5 GHz, EIRP) | EACH | 12 | 44000 | 528000
2 | Supply,Installation, Testing and CommissioningIn Wall Dual Bank Access Point, PoE Gigabit LAN Port, 1 Non PoE Gigabit LAN Port, 802.3af/802.3at PoE, 2 Dual-Band Antennas, 2.4 GHz: 2× 4 dBi, 5 GHz: 2× 3.6 dB, Signal Rate : 5 GHz: Up to 867 Mbps, 2.4 GHz: Up to 300 Mbps, IEEE 802.11n/g/b/ac; MU-MIMO, Transmission Power : ≤20 dBm (2.4 GHz, ` ≤23 dBm (5 GHz, EIRP) | EACH | 230 | 20790 | 4781700
3 | Supply,Installation, Testing and Commissioning24 Port Unmanaged Ethernet Gigabit PoE Switch, 2 Uplink ports, 2 SFP ports, 450 Watts power budget, Upto 30W loading on port, Rack Mountable | EACH | 2 | 163350 | 326700
4 | Supply,Installation, Testing and Commissioning 16 port Unmanaged Ethernet Gigabit PoE Switch, 2 Uplink ports, 2 SFP ports, 350 Watts power budget, upto 30 watts loading on port, Rack Mountable | EACH | 2 | 108900 | 217800
5 | Supply,Installation, Testing and CommissioningUTM Firewall with builtin Hotspot gateway, Interfacing with popular PMS to generate WiFi password for guest when guest checks in, Captive portal with SMS integration, One year subscription make : SOPHOS firewall 4000 users | EACH | 2 | 1584000 | 3168000
6 | Supply,Installation, Testing and Commissioning24 Port Unmanaged Ethernet Gigabit Switch ( Server Room), Rack mountable | EACH | 2 | 8800 | 17600
7 | Supply,Installation, Testing and Commissioning 8 Port desktop Gigabit Ethernet Switch | EACH | 2 | 1820 | 3640
8 | 42U Networking Rack for server room, 4 nos.cable managers, 12 socket power manager, 2 nos cooling fans, castors mounted, all four sides openable, powder coated, Floor mount | EACH | 1 | 32450 | 32450
9 | Supplying and fixing 9U wall mount rack (Dimension-DxWxH – 450x550x500 mm) as per specification (9 U Wall mount Networking Rack, 2 nos cable managers, 6 socket power manager, 1 no cooling fan, powder coated) | EACH | 15 | 4450 | 66750
Total |  |  |  |  | 9142640
GRAND TOTAL |  |  |  |  | 16482463
GST @ 18% |  |  |  |  | 2966843.34
TOTAL |  |  |  |  | 19449306.34

## Simple Computers 300
BILL OF QUANTITIES FOR ELV SERVICES FOR GHD ANGHAAN
Sr.No | Particulars | Unit | QTY | Rate Rs | Amount Rs
TELEPHONE SYSTEM
1 | Supplying, erecting & commissioning of Digital EPABX System configured fo 1 PRI, 10 Digital Extensions & 250 Analog Extensions matrix or similar | EACH | 1 | 1163590 | 1163590
2 | Supplying, erecting & commissioning of operator phone system as per specification | EACH | 1 | 5880 | 5880
3 | Supplying, erecting & commissioning MDF Box 300 x 300 pairs with krones as per specification | EACH | 1 | 4550 | 4550
4 | Supplying, erecting & commissioning junction box suitable for 20 pairs as per specification | EACH | 15 | 1190 | 17850
5 | Supplying, erecting & commissioning junction box suitable for 50 pairs as per specification | EACH | 2 | 1980 | 3960
6 | Supplying, erecting & commissioning 10 pair KRONE module for connection & disconnection of telephone cable as per specification | EACH | 36 | 350 | 12600
7 | Supplying & erecting over voltage protection magazine suitable for 10 pair as per specification | EACH | 2 | 8300 | 16600
8 | Supplying, installing, testing & commissioning push button telephone instrument desk top/wall mount with caller IDunit as per specification complete. | EACH | 230 | 3500 | 805000
9 | Supplying & erecting jelly filled armoured telephone copper cable 20 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 2500 | 350 | 875000
10 | Supplying & erecting jelly filled armoured telephone copper cable 5 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 250 | 150 | 37500
11 | Supplying & erecting jelly filled armoured telephone copper cable 50 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 120 | 600 | 72000
12 | Supplying & erecting jelly filled armoured telephone copper cable 10 pair with 0.5 mm dia. laid in provided trench as per specification | METER | 120 | 260 | 31200
TOTAL |  |  |  |  | 3045730
CCTV SYSTEM
1 | Supplying & installing single mode OS1/OS2 - armoured - 12 core OS1/OS2 armoured single mode optical fibre of size 50/125µm. 10/40 gbps speed in provided underground HDPE pipe complete. | METER | 2000 | 180 | 360000
2 | Supplying & installing single mode fibre patch cord 3 m complete | EACH | 30 | 2190 | 65700
3 | Supplying & installing single mode fibre adapter with plate - 6 port complete. | EACH | 16 | 800 | 12800
4 | Supplying and fixing rack type 24 ports, light guide interconnect unit with adapter panel for termination of optical fibre cables on wall/ provided U rack complete as per specification | EACH | 16 | 7920 | 126720
5 | Supplying & installing single mode simplex pigtail complete | EACH | 85 | 300 | 25500
6 | Supplying and fixing 24 port patch panel with tool-less keystone jacks in provided U Rack complete as per specification | EACH | 16 | 7920 | 126720
7 | Supplying and fixing 9U IP66 outdoor mount server rack with pole mount bracket (Dimension- DxW - 450X550 mm) as per specification | EACH | 2 | 21600 | 43200
8 | Supplying & installing UTP networking cat-6 armoured cable suitable for LAN / WAN Computer net-working as per specification | METER | 800 | 260 | 208000
9 | Supplying and fixing IP66 enclosure for fibre splicing as per specification complete. | EACH | 6 | 3000 | 18000
10 | Supplying and fixing 1 meter length, UTP patch cord of Cat 6 type in position as per specification | EACH | 350 | 200 | 70000
11 | Supplying and fixing 3 meter length, UTP patch cord of Cat 6 type in position as per specification | EACH | 30 | 220 | 6600
12 | Supplying, fixing, and configuring media convertor 1000Base T to 1000 base-SX SC single-mode media converter (550m) complete. | EACH | 15 | 11880 | 178200
13 | Supplying and erecting of Pro series IP Dome / Bullet Camera , 4MP 3.6mm Make: CP Plus / Dahua | EACH | 55 | 7960 | 437800
14 | Supplying and erecting Pro series NVR 32 Channel with 4 SATA Make : CP Plus /Dahua | EACH | 2 | 58680 | 117360
15 | Supplying and erecting of Surveillance Hard disk 6 TB Make : Seagate | EACH | 4 | 17280 | 69120
16 | Supplying, fixing, and configuring 16-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete | EACH | 26 | 21600 | 561600
17 | Supplying, fixing, and configuring 8-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete | EACH | 26 | 11890 | 309140
18 | Supplying, fixing, and configuring 24-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete | EACH | 2 | 35280 | 70560
19 | Supplying, fixing, and configuring 32-ports 10/100/1000Mbps unmanaged gigabit PoE Switch complete tp link (16 port 2 qty) | EACH | 2 | 44200 | 88400
20 | Supplying and erecting of Mounting Box for Indoor Cameras | EACH | 55 | 200 | 11000
21 | Supplying, installing & testing UTP connector (RJ-45) as per specification with crimping | EACH | 230 | 220 | 50600
22 | Supplying, installing of Outdoor Housing for cameras ( Fibre body) | EACH | 1 | 2160 | 2160
23 | Monitor 32 " Samsung /Eq | EACH | 2 | 39120 | 78240
24 | Rack 17 U along with plates for CCTV & EPABX | EACH | 1 | 35300 | 35300
25 | Supplying and laying (including excavation of suitable width & depth up to 90 cm) 50 mm outside dia. double wall corrugated pipes (DWC) of HDPE for enclosing cable below ground/road surface, to required depth complete. | METER | 1600 | 1190 | 1904000
TOTAL |  |  |  |  | 4976720
IT SERVICES
1 | Supply,Installation, Testing and Commissioning Ceiling Mount Wreless Dual Band Access Point, Gigabit Ethernet PoE Port ( 802.3af/at PoE) ,Antennas : 3 Internal Omni,2.4 GHz: 4 dBi, 5 GHz: 5 dB' MU - MIMO, Mounting Kit, Seamless Roaming, Signal rate : 5 GHz:Up to 867 Mbps, 2.4 GHz:Up to 450 Mbps, Transmission power : ≤20 dBm(2.4 GHz, EIRP), ≤23 dBm(5 GHz, EIRP) | EACH | 12 | 48000 | 576000
2 | Supply,Installation, Testing and CommissioningIn Wall Dual Bank Access Point, PoE Gigabit LAN Port, 1 Non PoE Gigabit LAN Port, 802.3af/802.3at PoE, 2 Dual-Band Antennas, 2.4 GHz: 2× 4 dBi, 5 GHz: 2× 3.6 dB, Signal Rate : 5 GHz: Up to 867 Mbps, 2.4 GHz: Up to 300 Mbps, IEEE 802.11n/g/b/ac; MU-MIMO, Transmission Power : ≤20 dBm (2.4 GHz, ` ≤23 dBm (5 GHz, EIRP) | EACH | 230 | 22680 | 5216400
3 | Supply,Installation, Testing and Commissioning24 Port Unmanaged Ethernet Gigabit PoE Switch, 2 Uplink ports, 2 SFP ports, 450 Watts power budget, Upto 30W loading on port, Rack Mountable | EACH | 2 | 178200 | 356400
4 | Supply,Installation, Testing and Commissioning 16 port Unmanaged Ethernet Gigabit PoE Switch, 2 Uplink ports, 2 SFP ports, 350 Watts power budget, upto 30 watts loading on port, Rack Mountable | EACH | 2 | 118800 | 237600
5 | Supply,Installation, Testing and CommissioningUTM Firewall with builtin Hotspot gateway, Interfacing with popular PMS to generate WiFi password for guest when guest checks in, Captive portal with SMS integration, One year subscription make : SOPHOS firewall 4000 users | EACH | 2 | 1728000 | 3456000
6 | Supply,Installation, Testing and Commissioning24 Port Unmanaged Ethernet Gigabit Switch ( Server Room), Rack mountable | EACH | 2 | 9600 | 19200
7 | Supply,Installation, Testing and Commissioning 8 Port desktop Gigabit Ethernet Switch | EACH | 2 | 1980 | 3960
8 | 42U Networking Rack for server room, 4 nos.cable managers, 12 socket power manager, 2 nos cooling fans, castors mounted, all four sides openable, powder coated, Floor mount | EACH | 1 | 35400 | 35400
9 | Supplying and fixing 9U wall mount rack (Dimension-DxWxH – 450x550x500 mm) as per specification (9 U Wall mount Networking Rack, 2 nos cable managers, 6 socket power manager, 1 no cooling fan, powder coated) | EACH | 15 | 5000 | 75000
Total |  |  |  |  | 9975960
GRAND TOTAL |  |  |  |  | 17998410
GST @ 18% |  |  |  |  | 3239713.8
TOTAL |  |  |  |  | 21238123.8